## Cover page
SAKO Brno, a.s.
registered address: Jedovnická 4247/2, 628 00 Brno
ID No: 60713470
Part 0.h Room data sheet
Public Contract:
"High-efficient combined heat and power facility utilizing renewable sources (OHB II - line K1) "
over-the-limit utilities contract for construction works awarded in a negotiated procedure with prior publication pursuant to the provisions of Section 60 of the PPA,

## Room Data Sheet
Nr. | Designation | Location | Area | Function / content | Material | [10 empty] | Surface treatment | [21 empty] | Loads | [5 empty] | Electrical | [7 empty] | Plumbing | [11 empty] | Heating |  |  | Ventilation | [12 empty] | Other |  |  | Comments
[5 empty] | Floor |  | Walls / Columns |  |  |  |  | Beams |  | Ceiling |  | Floor | [7 empty] | Walls / Columns | [6 empty] | Beams |  |  | Ceiling |  |  |  | Note 2 | [25 empty] | Note 5 |  |  | Temperature requirements
|  | Level | Area [m2], Note 1 |  | Concrete | Steel grating / floor plate - By others | Concrete | Lightweight concrete (Ytong...) | Non-insulated steel facade panels | Polycarbonate | Insulated steel facade panels | Concrete | Steel | Concrete | Lightweight - Roof | Untreated | Dust sealed | Brushed Concrete | Tiles | Raised floor | Polyurethane coating | PVC | Other | Untreated | Painted | Dust sealed | Tiles | Vinyl Tiles | Brushed Concrete | Other | Untreated | Dust sealed | Coating | Untreated | Dust sealed | Soffit | Painted | Distributed load [kN/m2] | Loads from equipment [kN] | Forklift with massive wheels | Truck loads | Equipment on plinth | Overhead travelling crane | Lighting | Emergency lighting | 230V Socket Outlet, Earth | Floor Box (1x230V Socket Outlet) | 400V Socket Outlet | 400V Connection to Fixed Equipment | Data Outlets (RJ45) /telephone | Fire detection systém Note 4 | Emergency Shower | Sink/wash basin | Toilet | Foam/water monitor Note 4 | Sprinkler / Deluge, Note 4 | Fire hose reel Note 4 | Dry riser for fire fighting Note 4 | Process water | Domestic water | Inergen system | Floor drain (Process) | Drain trench with grating | Radiator / Floor heating | HVAC | Heater blower (Water / Elec.) | Ventilation Method | Heat load [kW] Note 6 | Inlet temperature, Min. | Inlet temperature, Normal | Room temperature, Min | Room temperature, Wanted | Room temperature, Max Note 11 | Air flow rate [m3/h] Note 7 | Positive pressure ventilation | Under pressure ventilation | Cooling Note 8 | Fire ventilation Note 9 | Locked room | Max. sound level (dBA) Note 10 | Fixed furniture | AV equipment
05.01 | Zásobník odpadů / WASTE BUNKER | -5 |  |  | X |  | X |  |  | X | X | X |  | X |  |  | X | [5 empty] | X |  |  | X |  |  |  | X |  |  | X |  |  |  | X | [6 empty] | X | X | X |  | X |  |  | X |  |  |  | X | X | X | X | X | [23 empty] | Note 3
04.01 | Jímka kondenzátu / WASTE WATER PIT | -4.5 |  |  | X |  | X | [6 empty] | X | [8 empty] | X | [6 empty] | X |  |  |  |  | X
03.01 | Nový kabelový kanál / NEW UNDERGROUND CABLE ROUTING | -3.5 |  |  | X |  | X | [6 empty] | X |  |  | X | [8 empty] | X | [8 empty] | X | [8 empty] | X | X | X |  |  |  |  | X | [10 empty] | X
03.02 | Kabelový prostor / CABLE ROUTING | -3.5 |  |  | X |  | X | [6 empty] | X |  |  | X | [8 empty] | X | [8 empty] | X | [8 empty] | X | X | X |  |  |  |  | X | [10 empty] | X
03.03 | Jímka pod dieslem / SUMP | -3.5 |  |  | X |  | X | [6 empty] | X | [8 empty] | X | [6 empty] | X |  |  |  |  | X
03.04 | Jímka pod trafem I / OIL SUMP FOR TRANSFORMER I | -3.5 |  |  | X |  | X | [6 empty] | X | [8 empty] | X | [6 empty] | X |  |  |  |  | X
03.05 | Jímka pod trafem II / OIL SUMP FOR TRANSFORMER II | -3.5 |  |  | X |  | X | [6 empty] | X | [8 empty] | X | [6 empty] | X |  |  |  |  | X
0.01 | Průjezd / PASSAGE | 0 |  |  | X |  | X | X | [5 empty] | X |  |  | X | [7 empty] | X | [11 empty] | X |  |  | X | X |  |  | X | X | X |  |  |  |  | X | [7 empty] | X |  |  |  | X |  |  |  | X
0.02 | Místnost spalinového ventilátoru / INDUCED DRAUGHT FAN | 0 |  | ELEVATOR, STAIRCASE | X |  | X | X |  |  |  |  | X | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X |  |  | X |  | X | X | X | X | X |  | X |  |  | X | [7 empty] | X |  |  |  | X |  |  | X | X
0.03 | Kotelna / BOILER HALL | 0 |  | WASTE WATER PIT, STAIRCASE | X |  | X | X |  | X | X | X | X | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X |  |  | X |  | X | X | X | X | X |  | X |  |  | X | [5 empty] | X |  | X |  |  |  | X |  |  | X | X
0.04 | Místnost kondenzátoru / CONDENSER ROOM | 0 |  |  | X |  | X | X |  |  |  |  | X | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X |  |  | X | X | X | X | X | X | X |  | X |  |  | X | [7 empty] | X |  |  |  | X |  |  | X | X
0.05 | Rozvodna / HV ROOM | 0 |  |  | X |  | X | X |  |  |  |  | X | X | [8 empty] | X |  | X | [7 empty] | X |  |  |  | X |  |  | X |  |  |  | X | X | X |  | X |  | X | X | [6 empty] | X | [6 empty] | X |  | X | [5 empty] | 21 |  |  |  | X
0.06 | Chodba / CORRIDOR | 0 |  | STAIRCASE | X |  | X | X | [5 empty] | X |  |  | X | [7 empty] | X | [11 empty] | X | [6 empty] | X | X | [5 empty] | X
0.07 | Trafo I / TRANSFORMER I | 0 |  |  | X |  | X | X |  |  |  |  | X | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X | [6 empty] | X | X | X |  | X |  |  | X | [6 empty] | X | [8 empty] | X | [9 empty] | X
0.08 | Trafo II / TRANSFORMER II | 0 |  |  | X |  | X | X | [5 empty] | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X | [6 empty] | X | X | X |  | X |  |  | X | [6 empty] | X | [8 empty] | X | [9 empty] | X
0.09 | Dieselagregát / EMERGENCY DIESELGENERATOR | 0 |  |  | X |  | X | X |  |  |  |  | X | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X | [6 empty] | X | X | X |  | X |  |  | X | [6 empty] | X | [8 empty] | X | [9 empty] | X
0.10 | Chemická úpravna vody / MAKE-UP WATER | 0 |  |  | X |  | X | X |  |  |  |  | X | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X |  |  | X |  | X | X | X | X | X |  |  |  | X | X | X | X | [5 empty] | X | X |  | X | X |  |  | X | X
0.11 | Chodba / CORRIDOR | 0 |  |  | X |  | X | X | [5 empty] | X |  |  | X | [7 empty] | X | X | [8 empty] | X | [8 empty] | X | X | X |  |  |  |  | X
0.20 | Silo vápna / ABSORBENT SILO | Outside SO502, 0,00 |  |  | X |  |  |  | X |  |  |  | X |  | X |  | X | [6 empty] | X | [8 empty] | X | X | [7 empty] | X |  | X |  | X |  | X |  |  |  | X | [6 empty] | X | X |  | X
0.21 | Dávkování aktivního uhlí / ACTIVATED CARBON INJECTION | Outside SO502, 0,00 |  |  | X | X |  |  | X |  |  |  | X |  | X |  | X | [6 empty] | X | [8 empty] | X | X | [8 empty] | X | X | [6 empty] | X | X | [6 empty] | X | X |  | X
3.01 | Potrubní kanál / UNDERGROUND PIPELINE | 3.4 |  |  | X |  | X | [6 empty] | X |  |  | X | [8 empty] | X | [8 empty] | X
6.01 | Chodba / CORRIDOR | 6.4 |  |  | X |  |  | X |  |  | X |  | X | X |  |  | X | [8 empty] | X | [6 empty] | X |  | X | [8 empty] | X | X | X |  |  |  | X | X | [5 empty] | X | [7 empty] | X |  | X | [14 empty] | X
6.02 | Chodba / CORRIDOR | 6.4 |  |  | X |  | X | X |  |  |  | X |  | X |  |  | X | [8 empty] | X | [6 empty] | X |  | X | [8 empty] | X | X | X |  |  |  | X | X | [5 empty] | X | [7 empty] | X |  | X | [14 empty] | X
7.01 | Hala čištění spalin / FLUE GAS TREATMENT (FGT) HALL | 7 |  | ELEVATOR, 2xSTAIRCASES | X |  | X | X |  | X | X |  | X | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X |  |  | X |  | X | X | X | X | X |  | X |  | X | X | X | X |  |  |  | X |  | X | X |  | X | X |  |  | X | X
7.02 | Turbínová hala / TURBINE HALL | 7 |  |  | X |  | X | X |  |  |  |  | X | X |  |  | X | [7 empty] | X | X | [6 empty] | X |  |  |  | X |  |  | X | X | X | X | X | X | X |  | X |  | X | X | [11 empty] | X |  |  | X | X
7.03 | Místnost baterií / BATTERY ROOM | 7 |  |  | X |  | X | X |  |  |  |  | X | X | [8 empty] | X |  | X | X | [6 empty] | X |  |  |  | X | [6 empty] | X | X | X |  |  |  |  | X | [6 empty] | X | [6 empty] | X |  | X | [5 empty] | 21 |  |  |  | X
7.04 | Místnost FM a UPS / UPS + FREQUENCY CONVERTERS | 7 |  |  | X |  | X | X |  |  |  |  | X | X | [8 empty] | X |  | X | X | [6 empty] | X |  |  |  | X | [6 empty] | X | X | X |  |  |  |  | X | [6 empty] | X | [6 empty] | X |  | X | [5 empty] | 21 |  |  |  | X
10.01 | Instalační prostor / INSTALLATION SPACE | 10.7 |  |  | X |  |  | X |  |  | X |  | X | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X | [6 empty] | X | X | X |  |  |  |  | X | [15 empty] | X
14.01 | Instalační prostor / INSTALLATION SPACE | 14.55 |  |  | X |  |  | X |  |  | X |  | X | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X | [6 empty] | X | X | X |  |  |  |  | X | [15 empty] | X
14.02 | Chodba / CORRIDOR | 14.55 |  |  | X |  | X | X |  |  |  | X |  | X |  |  | X | [7 empty] | X | X | [6 empty] | X |  |  |  | X | [6 empty] | X | X | X |  |  |  | X | X | [5 empty] | X | [7 empty] | X |  | X | [14 empty] | X
18.01 | Instalační prostor / INSTALLATION SPACE | 18.9 |  |  | X |  |  | X |  |  | X |  | X | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X | [6 empty] | X | X | X |  |  |  |  | X | [15 empty] | X
19.01 | Plošina nad zastřešenou manipulační plochou / PLATFORM ABOVE THE COVERED MANIPULATION AREA | SO401, 19,00 |  |  |  | X |  |  |  |  | X |  | X | [9 empty] | X | [6 empty] | X |  |  | X | [10 empty] | X |  | X |  | X | [34 empty] | Load from existing equipment 2t
20.01 | Chodba / CORRIDOR | 20.5 |  |  | X |  |  | X | [5 empty] | X |  |  |  |  | X | X |  |  |  |  | X | [10 empty] | X | [7 empty] | X | X | [5 empty] | X | [13 empty] | X |  | X | [9 empty] | X |  |  | 35
20.02 | Jeřábnící / CRANE OPERATOR STATION | 20.5 |  |  | X |  |  | X |  |  |  |  | X |  | X |  |  |  |  | X |  | X |  |  | X | [7 empty] | X |  |  | X | [7 empty] | X | X | X | X |  |  | X | X | [13 empty] | X |  | X | [7 empty] | X |  | X |  |  | 35 | X | X | included glass windows
20.03 | Velín / CONTROL ROOM | 20.5 |  |  | X |  |  | X |  |  | X |  | X | X | [5 empty] | X |  | X |  |  | X | [7 empty] | X |  |  | X | [7 empty] | X | X | X | X |  |  | X | X | [13 empty] | X |  | X | [7 empty] | X |  | X |  |  | 35 | X | X | included glass windows
20.04 | Chodba / CORRIDOR | 20.5 |  |  | X |  |  | X | [5 empty] | X |  |  |  |  | X | X |  |  |  |  | X | [10 empty] | X | [7 empty] | X | X | [5 empty] | X | [13 empty] | X |  | X | [9 empty] | X
20.05 | Kancelář / OFFICE | 20.5 |  |  | X |  |  | X |  |  | X |  | X | X | [5 empty] | X |  | X |  |  | X | [7 empty] | X |  |  | X | [7 empty] | X | X | X | X |  |  | X | X | [13 empty] | X |  | X | [9 empty] | X |  |  |  | X | X
20.06 | Kancelář / OFFICE | 20.5 |  |  | X |  |  | X |  |  | X |  | X | X | [5 empty] | X |  | X |  |  | X | [7 empty] | X |  |  | X | [7 empty] | X | X | X | X |  |  | X | X | [13 empty] | X |  | X | [9 empty] | X |  |  |  | X | X
20.07 | Denní místnost / STAFF ROOM | 20.5 |  |  | X |  |  | X |  |  | X |  | X | X | [5 empty] | X |  | X |  |  | X | [7 empty] | X |  |  | X | [7 empty] | X | X | X | X |  |  | X | X |  | X | [6 empty] | X |  |  |  |  | X |  | X | [9 empty] | X |  |  |  | X | X
20.08 | WC / WC | 20.5 |  |  | X |  |  | X |  |  | X |  | X | X |  |  |  |  | X | X | [6 empty] | X | [5 empty] | X |  |  | X | [7 empty] | X |  | X | [6 empty] | X | X | [5 empty] | X |  |  |  |  | X |  | X
20.09 | Úklidová místnost / SERVICE ROOM | 20.5 |  |  | X |  |  | X |  |  | X |  | X | X |  |  |  |  | X | X | [6 empty] | X | [5 empty] | X |  |  | X | [7 empty] | X |  | X | [6 empty] | X | X | [5 empty] | X |  |  | X |  | X |  | X
25.01 | Chodba / CORRIDOR | 25.27 |  |  | X |  |  | X | [5 empty] | X |  |  |  |  | X | X |  |  |  |  | X | [10 empty] | X | [7 empty] | X | X | X |  |  |  |  | X | [13 empty] | X |  | X | [9 empty] | X
25.02 | Rozvodna NN / LV ROOM | 25.27 |  |  | X |  |  | X | [5 empty] | X |  |  |  |  | X | X |  |  |  |  | X | [18 empty] | X | X | X |  | X |  |  | X | [13 empty] | X |  | X | [5 empty] | 21 |  |  |  | X
25.03 | Serverovna / SERVER ROOM | 25.27 |  |  | X |  |  | X | [5 empty] | X |  |  |  |  | X | X |  |  |  |  | X | [18 empty] | X | X | X |  |  |  |  | X | [13 empty] | X |  | X | [5 empty] | 21 |  |  |  | X
25.04 | Potrubí VZT / HVAC DUCTS | 25.27 |  |  | X |  |  | X | [5 empty] | X |  |  |  |  | X | X |  |  |  |  | X | [18 empty] | X | X | X |  | X |  |  | X | [13 empty] | X |  | X | [9 empty] | X
25.05 | Prezentační místnost / MEETING ROOM | 25.27 |  |  | X |  |  | X |  |  | X |  | X | X | [5 empty] | X |  | X |  |  | X | [7 empty] | X |  |  | X | [7 empty] | X | X | X | X |  |  | X | X | [13 empty] | X |  | X | [9 empty] | X |  |  |  | X | X
25.06 | WC / WC | 25.27 |  |  | X |  |  | X |  |  | X |  | X | X |  |  |  |  | X | X | [6 empty] | X | [5 empty] | X |  |  | X | [7 empty] | X |  | X | [6 empty] | X | X | [5 empty] | X |  |  |  |  | X |  | X
25.07 | WC / WC | 25.27 |  |  | X |  |  | X |  |  | X |  | X | X |  |  |  |  | X | X | [6 empty] | X | [5 empty] | X |  |  | X | [7 empty] | X |  | X | [6 empty] | X | X | [5 empty] | X |  |  |  |  | X |  | X
30.01 | Strojovna VZT / HVAC ROOM | 30.52 |  |  | X |  |  | X |  |  | X |  | X | X |  |  | X | [7 empty] | X | [7 empty] | X |  |  |  | X | [6 empty] | X | X | X |  | X |  | X | X | [10 empty] | X |  |  | X |  | X | [9 empty] | X
Notes
The tenderer states design values based on proposed layout and building design (ČSN standard values must always be met).
Note: References in this document are to be updated when final layouts are elaborated. Employers requirements express within this document on building design shall be followed. Tenderer fills all the required information based on reference notes.
|  | 1 | Please fill the m2, in accordance with 3D model
|  | 2 | Please indicate Load data according to Design Data provided by Contractor
|  | 3 | Density of waste; 5 kN/M3
|  | 4 | Please indicate Fire detection/suppression according to Building Regulations and Fire Strategy Report.
|  | 5 | Please note that the facility must be kept at >0oC during stand still
|  | 6 | Please fill the heat load (kW).
|  | 7 | Please fill the m3/h
|  | 8 | Please indicate where active cooling is foreseen
|  | 9 | Please indicate according to building regulations and Fire Strategy Report
|  | 10 | Please indicate according to Building Regulations and E1 TC-3
|  | 11 | During daytime in the summer period Max < 40oC is acceptable

## References
05.01 | Zásobník odpadů | WASTE BUNKER | Zásobník odpadů / WASTE BUNKER
04.01 | Jímka kondenzátu | WASTE WATER PIT | Jímka kondenzátu / WASTE WATER PIT
03.01 | Nový kabelový kanál | NEW UNDERGROUND CABLE ROUTING | Nový kabelový kanál / NEW UNDERGROUND CABLE ROUTING
03.02 | Kabelový prostor | CABLE ROUTING | Kabelový prostor / CABLE ROUTING
03.03 | Jímka pod dieslem | SUMP | Jímka pod dieslem / SUMP
03.04 | Jímka pod trafem I | OIL SUMP FOR TRANSFORMER I | Jímka pod trafem I / OIL SUMP FOR TRANSFORMER I
03.05 | Jímka pod trafem II | OIL SUMP FOR TRANSFORMER II | Jímka pod trafem II / OIL SUMP FOR TRANSFORMER II
0.01 | Průjezd | PASSAGE | Průjezd / PASSAGE
0.02 | Místnost spalinového ventilátoru | INDUCED DRAUGHT FAN | Místnost spalinového ventilátoru / INDUCED DRAUGHT FAN
0.03 | Kotelna | BOILER HALL | Kotelna / BOILER HALL
0.04 | Místnost kondenzátoru | CONDENSER ROOM | Místnost kondenzátoru / CONDENSER ROOM
0.05 | Rozvodna | HV ROOM | Rozvodna / HV ROOM
0.06 | Chodba | CORRIDOR | Chodba / CORRIDOR
0.07 | Trafo I | TRANSFORMER I | Trafo I / TRANSFORMER I
0.08 | Trafo II | TRANSFORMER II | Trafo II / TRANSFORMER II
0.09 | Dieselagregát | EMERGENCY DIESELGENERATOR | Dieselagregát / EMERGENCY DIESELGENERATOR
0.10 | Chemická úpravna vody | MAKE-UP WATER | Chemická úpravna vody / MAKE-UP WATER
0.11 | Chodba | CORRIDOR | Chodba / CORRIDOR
0.20 | Silo vápna | ABSORBENT SILO | Silo vápna / ABSORBENT SILO
0.21 | Dávkování aktivního uhlí | ACTIVATED CARBON INJECTION | Dávkování aktivního uhlí / ACTIVATED CARBON INJECTION
3.01 | Potrubní kanál | UNDERGROUND PIPELINE | Potrubní kanál / UNDERGROUND PIPELINE
6.01 | Chodba | CORRIDOR | Chodba / CORRIDOR
6.02 | Chodba | CORRIDOR | Chodba / CORRIDOR
7.01 | Hala čištění spalin | FLUE GAS TREATMENT (FGT) HALL | Hala čištění spalin / FLUE GAS TREATMENT (FGT) HALL
7.02 | Turbínová hala | TURBINE HALL | Turbínová hala / TURBINE HALL
7.03 | Místnost baterií | BATTERY ROOM | Místnost baterií / BATTERY ROOM
7.04 | Místnost FM a UPS | UPS + FREQUENCY CONVERTERS | Místnost FM a UPS / UPS + FREQUENCY CONVERTERS
10.01 | Instalační prostor | INSTALLATION SPACE | Instalační prostor / INSTALLATION SPACE
14.01 | Instalační prostor | INSTALLATION SPACE | Instalační prostor / INSTALLATION SPACE
14.02 | Chodba | CORRIDOR | Chodba / CORRIDOR
18.01 | Instalační prostor | INSTALLATION SPACE | Instalační prostor / INSTALLATION SPACE
19.01 | Plošina nad zastřešenou manipulační plochou | PLATFORM ABOVE THE COVERED MANIPULATION AREA | Plošina nad zastřešenou manipulační plochou / PLATFORM ABOVE THE COVERED MANIPULATION AREA
20.01 | Chodba | CORRIDOR | Chodba / CORRIDOR
20.02 | Jeřábnící | CRANE OPERATOR STATION | Jeřábnící / CRANE OPERATOR STATION
20.03 | Velín | CONTROL ROOM | Velín / CONTROL ROOM
20.04 | Chodba | CORRIDOR | Chodba / CORRIDOR
20.05 | Kancelář | OFFICE | Kancelář / OFFICE
20.06 | Kancelář | OFFICE | Kancelář / OFFICE
20.07 | Denní místnost | STAFF ROOM | Denní místnost / STAFF ROOM
20.08 | WC | WC | WC / WC
20.09 | Úklidová místnost | SERVICE ROOM | Úklidová místnost / SERVICE ROOM
25.01 | Chodba | CORRIDOR | Chodba / CORRIDOR
25.02 | Rozvodna NN | LV ROOM | Rozvodna NN / LV ROOM
25.03 | Serverovna | SERVER ROOM | Serverovna / SERVER ROOM
25.04 | Potrubí VZT | HVAC DUCTS | Potrubí VZT / HVAC DUCTS
25.05 | Prezentační místnost | MEETING ROOM | Prezentační místnost / MEETING ROOM
25.06 | WC | WC | WC / WC
25.07 | WC | WC | WC / WC
30.01 | Strojovna VZT | HVAC ROOM | Strojovna VZT / HVAC ROOM